**Thin-layer chromatography**

**Thin-layer chromatography** (TLC) is a [chromatography](https://en.wikipedia.org/wiki/Chromatography) technique used to separate non-volatile mixtures.[[1]](https://en.wikipedia.org/wiki/Thin-layer_chromatography#cite_note-HarwoodMoodyEOCPAP-1)Thin-layer chromatography is performed on a sheet of glass, plastic, or aluminium foil, which is coated with a thin layer of [adsorbent](https://en.wikipedia.org/wiki/Adsorbent) material, usually [silica gel](https://en.wikipedia.org/wiki/Silica_gel), [aluminium oxide](https://en.wikipedia.org/wiki/Aluminium_oxide), or [cellulose](https://en.wikipedia.org/wiki/Cellulose). This layer of adsorbent is known as the [stationary phase](https://en.wikipedia.org/wiki/Stationary_phase_(chemistry)). After the sample has been applied on the plate, a [solvent](https://en.wikipedia.org/wiki/Solvent) or solvent mixture (known as the [mobile phase](https://en.wikipedia.org/wiki/Mobile_phase)) is drawn up the plate via [capillary action](https://en.wikipedia.org/wiki/Capillary_action). Because different [analytes](https://en.wikipedia.org/wiki/Analyte) ascend the TLC plate at different rates, separation is achieved. Thin-layer chromatography can be used to monitor the progress of a reaction, identify compounds present in a given mixture, and determine the purity of a substance. Specific examples of these applications include: analyzing [ceramides](https://en.wikipedia.org/wiki/Ceramide) and [fatty acids](https://en.wikipedia.org/wiki/Fatty_acid), detection of [pesticides](https://en.wikipedia.org/wiki/Pesticide) or [insecticides](https://en.wikipedia.org/wiki/Insecticide) in food and water, analyzing the dye composition of fibers in [forensics](https://en.wikipedia.org/wiki/Forensic), assaying the [radiochemical purity](https://en.wikipedia.org/w/index.php?title=Radiochemical_purity&action=edit&redlink=1) of [radiopharmaceuticals](https://en.wikipedia.org/wiki/Radiopharmaceutical), or identification of [medicinal plants](https://en.wikipedia.org/wiki/Medicinal_plants) and their constituents. A number of enhancements can be made to the original method to automate the different steps, to increase the resolution achieved with TLC and to allow more accurate quantitative analysis. This method is referred to as [HPTLC](https://en.wikipedia.org/wiki/HPTLC), or "high-performance TLC"

## Plate preparation

TLC plates are usually commercially available, with standard particle size ranges to improve reproducibility. They are prepared by mixing the adsorbent, such as [silica gel](https://en.wikipedia.org/wiki/Silica_gel), with a small amount of [inert](https://en.wikipedia.org/wiki/Inert) binder like [calcium sulfate](https://en.wikipedia.org/wiki/Calcium_sulfate) (gypsum) and water. This mixture is spread as a thick slurry on an un-reactive carrier sheet, usually [glass](https://en.wikipedia.org/wiki/Glass), thick aluminum foil, or plastic. The resultant plate is dried and *activated* by heating in an oven for thirty minutes at 110 °C. The thickness of the absorbent layer is typically around 0.1 – 0.25 mm for analytical purposes and around 0.5 – 2.0 mm for preparative TLC.


To run a thin layer chromatography, the following procedure is carried out.

* A small spot of [solution](https://en.wikipedia.org/wiki/Solution) containing the sample is applied to a plate, about 1.5 centimeters from the bottom edge. The [solvent](https://en.wikipedia.org/wiki/Solvent) is allowed to completely evaporate off, otherwise a very poor or no separation will be achieved. If a non-volatile solvent was used to apply the sample, the plate needs to be dried in a [vacuum chamber](https://en.wikipedia.org/wiki/Vacuum_chamber).
* A small amount of an appropriate solvent (eluent) is poured into a glass beaker or any other suitable transparent container (separation chamber) to a depth of less than 1 centimeter. A strip of filter paper (aka "wick") is put into the chamber so that its bottom touches the solvent and the paper lies on the chamber wall and reaches almost to the top of the container. The container is closed with a cover glass or any other lid and is left for a few minutes to let the solvent vapors ascend the filter paper and saturate the air in the chamber. (Failure to saturate the chamber will result in poor separation and non-reproducible results).
* The TLC plate is then placed in the chamber so that the spot(s) of the sample do not touch the surface of the eluent in the chamber, and the lid is closed. The [solvent](https://en.wikipedia.org/wiki/Solvent) moves up the plate by [capillary action](https://en.wikipedia.org/wiki/Capillary_action), meets the sample mixture and carries it up the plate (elutes the sample). The plate should be removed from the chamber before the solvent front reaches the top of the stationary phase (continuation of the elution will give a misleading result) and dried.

### Separation Process and Principle

Different [compounds](https://en.wikipedia.org/wiki/Chemical_compound) in the sample mixture travel at different rates due to the differences in their attraction to the stationary phase and because of differences in solubility in the solvent.[[6]](https://en.wikipedia.org/wiki/Thin-layer_chromatography#cite_note-mehta-6) By changing the solvent, or perhaps using a mixture, the separation of components (measured by the [*R*f](https://en.wikipedia.org/wiki/Retardation_factor) value) can be adjusted. Also, the separation achieved with a TLC plate can be used to estimate the separation of a [flash chromatography](https://en.wikipedia.org/wiki/Column_chromatography) column.

Separation of compounds is based on the competition of the solute and the mobile phase for binding places on the stationary phase.[[3]](https://en.wikipedia.org/wiki/Thin-layer_chromatography#cite_note-hptlc_med-3) For instance, if normal-phase silica gel is used as the stationary phase, it can be considered polar. Given two compounds that differ in polarity, the more polar compound has a stronger interaction with the silica and is, therefore, more capable to dispel the mobile phase from the binding places. As a consequence, the less polar compound moves higher up the plate (resulting in a higher *R*f value).[[6]](https://en.wikipedia.org/wiki/Thin-layer_chromatography#cite_note-mehta-6) If the mobile phase is changed to a more polar solvent or mixture of solvents, it is more capable of dispelling solutes from the silica binding places, and all compounds on the TLC plate will move higher up the plate. It is commonly said that "strong" solvents (eluents) push the analyzed compounds up the plate, whereas "weak" eluents barely move them. The order of strength/weakness depends on the coating (stationary phase) of the TLC plate. For silica gel-coated TLC plates, the eluent strength increases in the following order: [perfluoroalkane](https://en.wikipedia.org/wiki/Perfluoroalkane)(weakest), [hexane](https://en.wikipedia.org/wiki/Hexane), [pentane](https://en.wikipedia.org/wiki/Pentane), [carbon tetrachloride](https://en.wikipedia.org/wiki/Carbon_tetrachloride), [benzene](https://en.wikipedia.org/wiki/Benzene)/[toluene](https://en.wikipedia.org/wiki/Toluene), [dichloromethane](https://en.wikipedia.org/wiki/Dichloromethane), [diethyl ether](https://en.wikipedia.org/wiki/Diethyl_ether), [ethyl acetate](https://en.wikipedia.org/wiki/Ethyl_acetate),[acetonitrile](https://en.wikipedia.org/wiki/Acetonitrile), [acetone](https://en.wikipedia.org/wiki/Acetone), [2-propanol](https://en.wikipedia.org/wiki/2-propanol)/[*n*-butanol](https://en.wikipedia.org/wiki/N-butanol), [water](https://en.wikipedia.org/wiki/Water), [methanol](https://en.wikipedia.org/wiki/Methanol), [triethylamine](https://en.wikipedia.org/wiki/Triethylamine), [acetic acid](https://en.wikipedia.org/wiki/Acetic_acid), [formic acid](https://en.wikipedia.org/wiki/Formic_acid) (strongest). For[C18](https://en.wikipedia.org/wiki/Reversed-phase_chromatography)-coated plates the order is reverse. This means that if a mixture of ethyl acetate and hexane as the mobile phase is used, adding more ethyl acetate results in higher *R*f values for all compounds on the TLC plate. Changing the polarity of the mobile phase will normally not result in reversed order of running of the compounds on the TLC plate. An [eluotropic series](https://en.wikipedia.org/wiki/Eluotropic_series) can be used as a guide in selecting a mobile phase. If a reversed order of running of the compounds is desired, an apolar stationary phase should be used, such as C18-functionalized silica.



As the chemicals being separated may be colorless, several methods exist to visualize the spots:

* fluorescent analytes like quinine may be detected under [blacklight](https://en.wikipedia.org/wiki/Blacklight) (366 nm)
* Often a small amount of a [fluorescent](https://en.wikipedia.org/wiki/Fluorescent) compound, usually [manganese](https://en.wikipedia.org/wiki/Manganese)-activated [zinc silicate](https://en.wikipedia.org/wiki/Willemite), is added to the adsorbent that allows the visualization of spots under UV-C light (254 nm). The adsorbent layer will thus fluoresce light-green by itself, but spots of analyte quench this fluorescence.
* [Iodine](https://en.wikipedia.org/wiki/Iodine) vapors are a general unspecific color [reagent](https://en.wikipedia.org/wiki/Reagent)
  + Specific color reagents into which the TLC plate is dipped or which are sprayed onto the plate exist.
  + [Potassium permanganate](https://en.wikipedia.org/wiki/Potassium_permanganate) - oxidation
  + [Bromine](https://en.wikipedia.org/wiki/Bromine)
* In the case of lipids, the chromatogram may be transferred to a [PVDF](https://en.wikipedia.org/wiki/PVDF) membrane and then subjected to further analysis, for example [mass spectrometry](https://en.wikipedia.org/wiki/Mass_spectrometry), a technique known as [Far-Eastern blotting](https://en.wikipedia.org/wiki/Far-Eastern_blot).

Once visible, the *Rf* value, or [retardation factor](https://en.wikipedia.org/wiki/Retardation_factor), of each spot can be determined by dividing the distance the product traveled by the distance the solvent front traveled using the initial spotting site as reference. These values depend on the solvent used and the type of TLC plate and are not physical constants.

### Characterization

In [organic chemistry](https://en.wikipedia.org/wiki/Organic_chemistry), reactions are qualitatively monitored with TLC. Spots sampled with a capillary tube are placed on the plate: a spot of starting material, a spot from the reaction mixture, and a cross-spot with both. A small (3 by 7 cm) TLC plate takes a couple of minutes to run. The analysis is qualitative, and it will show if the starting material has disappeared, i.e. the reaction is complete, if any product has appeared, and how many products are generated (although this might be underestimated due to co-elution). Unfortunately, TLCs from low-temperature reactions may give misleading results, because the sample is warmed to room temperature in the capillary, which can alter the reaction—the warmed sample analyzed by TLC is not the same as what is in the low-temperature flask. One such reaction is the [DIBALH](https://en.wikipedia.org/wiki/DIBALH) reduction of ester to aldehyde. In one study TLC has been applied in the screening of [organic reactions](https://en.wikipedia.org/wiki/Organic_reaction), for example in the fine-tuning of [BINAP](https://en.wikipedia.org/wiki/BINAP) synthesis from [2-naphthol](https://en.wikipedia.org/wiki/2-naphthol). In this method, the alcohol and catalyst solution (for instance iron(III) chloride) are placed separately on the base line, then reacted, and then instantly analyzed.

### Isolation

### Since different compounds will travel a different distance in the stationary phase, chromatography can in effect be used as an isolation technique. The separated compounds each occupying a specific area on the plate, they can be scraped away, put in another solvent to separate them from the stationary phase and used for further analysis. As an example, in the chromatography of an extract of green leaves (for example [spinach](https://en.wikipedia.org/wiki/Spinach)) in 7 stages of development, [Carotene](https://en.wikipedia.org/wiki/Carotene) elutes quickly and is only visible until step 2. [Chlorophyll](https://en.wikipedia.org/wiki/Chlorophyll) A and B are halfway in the final step and [lutein](https://en.wikipedia.org/wiki/Lutein) the first compound staining yellow. Once the chromatography is over, the carotene can be removed from the plate, put back into a solvent and ran into a [spectrophotometer](https://en.wikipedia.org/wiki/Spectrophotometer) to characterize its wavelength absorption.